Author: Dick
Company: Hewlett-Packard Company

STATE OF HAWAII / DEPARTMENT OF LAND AND NATURAL RESOURCES / COMMISSION ON WATER RESOURCE MANAGEMENT GROUND 	Monday, July 25, 2011
	WATER WELL INDEX / SUMMARY
	Coordinates	Physical Data	Elevations in feet (msl)	Initial	Pump Test 
	Results
	NAD83	Case 	Total 	Bottom 	Bottom 			Installed 
	Aquifer	Year 	Dia.	Depth 	Solid 	Perf 	Bottom 	Static	Cl-	Temp	Specific 	Capacity
	Well No.	Well Name		Owner/User	Drilled	Latitude	Longitude	Type	 in.	ft.	Ground	Casing	Casing	of Hole	Head	mg/l	°F	Capacity	T		Use
	ISLAND CODE	6
	4730-01	TMK 3-8-14-18	60101	Mawson R	204739	1563031	ROT	  35	ABNLOS
	4730-02	Tmk 3-8-14-19	60101	Lindberg E	1956	204737	1563032	ROT	  6	  45	  15	   -5	  -30	1.83	ABNLOS
	4730-03	Maalaea Nellies	60101	Nellies on Maui, 	2010	204746	1563021	ROT	8	35	10.5	-6.5	-24.5	-24.5	2	200	72.1	0.086	AGRCP
	LLC
	4830-01	Maalaea Triangle	60101	Triangle Part	1997	204749	1563037	PER	  8	  84	  52	   -2	  -22	  -32	4.37	215	 23.3	0.108	IRRLA
	4831-01	Maalaea 272	60101	State DLNR-	1965	204806	1563053	PER	  8	 219	 166	   -1	  -21	  -53	4.7	250	 21.0	  100	OBS
	Engineering
	4930-01	Pohakea 1	60101	MVI, LLC	2004	204858	1563041	ROT	  6	 350	 319	-11	-31	-31	7.43	160	 72.0	1E+04	UNU
	4930-02	Pohakea 2	60101	MVI, LLC	2007	204913	1563050	PER	8	365	338	-7	-27	-27	5.27	180	71.8	UNU
	4930-03	Pohakea 3	60101	MVI, LLC	2007	204914	1563050	ROT	8	375	340	-15	-35	-35	6.78	180	71.5	UNU
	4931-01	Near Puu Hele	60101	Wailuku Sugar	1933	204907	1563051	ROT	  1	 325	 313	    4	    0	  -12	6.5	UNU
	5030-01	Maalaea 4	60101	Waikapu Properties, 	2009	205055	1563058	ROT	12	733	654	-26	-46	-79	8.83	40	71.6	280	2E+05	0.720	MUNPR
	LLC
	5131-02	Waikapu South A	60101	Waikapu Properties, 	2010	205104	1563105	ROT	18	898	778	2	-52	-120	12.97	50	76	1.008	MUN
	LLC
	5132-01	Waikapu Tunnel 1	60101	HC & S Co	1900	205131	1563216	TUN	1360	AGRCP
	5132-02	Waikapu Tunnel 2	60101	HC & S Co	1905	205123	1563249	TUN	1500	AGRCP
	Total Installed Pump Capacity in Aquifer in mgd	1.92
	Total Number of  Wells in Aquifer 	13
	Page 1 of 1